Workflow 2

Description

Manual analysis of OMERO images using Fiji

Setup

For this workshop, images have already been imported into OMERO. JAX uses a “dropbox” approach to importing images to OMERO; please contact us if your group wants to start using it and we will walk you through the process.

1. Login to the webclient at http://ctomeroweb01.jax.org/ with the Username and Password provided.

2. Search for mitomycin-A in the Search field at the top right of webclient. This should find 32 images. To search for key-value pairs, we can use the search string key: value. To narrow down the search, search again for mitomycin-A:10microM. This should narrow it down to 8 images. find the “C4.pattern.tif” image in the Dataset “chromatin-condensation”. Click on Browse to get back to this image in webclient.

3. Adjust channel names: Click on the pen:  icon in the right-hand pane next to Channels. Input “Cy3” (instead of channel “0”) and “eGFP” (instead of channel “1”). Click Apply to all button:  and confirm by clicking Continue.

4. Open the “C4.pattern.tif” Image with OMERO.iviewer, use the Time-slider below the image to move through time and play the video.

5. Start the Fiji app and use the OMERO plugin to browse data in OMERO i.e. Plugins > OMERO > Connect To OMERO

6. In the OMERO login dialog, click the wrench icon  and then add the server address (ctomerodev.jax.org – NOTE THIS IS A DIFFERENT ADDRESS!) in the dialog. Click Apply.

7. Find and open the same image from above “C4.pattern.tif” from Dataset “chromatin-condensation” (double-click on the thumbnail).

8. Select Image > Adjust > Threshold

9. The Threshold dialog will pop up, click Apply.

10. Another window Convert Stack to Binary will pop up

11. Select the following parameters:

a. Method: Default, Background: Dark, Calculate threshold for each Image and Black background (of binary masks).

b. Click OK.

c. Close the Threshold dialog if you want

12. Select Analyze > Analyze Particles

13. In the Analyze Particles dialog, select the following parameters

a. with Size: 50-infinity

b. Show: Outlines

c. Check: Display results, Clear results, Summarize and Add to Manager.

14. Click OK.

15. A dialog pops up asking to Process all 46 images? Click Yes

16. ROIs, Results table, and the mask timelapse with outlines will be generated

17. Select the Results table and Menu Results > Distribution > OK

18. In Fiji, select the original image (now also showing ROIs). You might need to do some digging through the sea of new windows you have. Then, select Plugins > OMERO > Save ROIs to OMERO.

19. We want to Save ROI and Measurements, which will attach the results as a CSV attachment (to open for example in Excel) to the image in OMERO.

20. Enter a File Name and click Save (Note: There is also a manual workflow which you could have used to attach the Excel sheets resulting from Workflow1 to OMERO.)

21. Select the image with outlines named “Drawing of…”. Select File > Save As > Tiff… and give it a meaningful name (outlines.tiff, for example).

22. Now we will save the created images back to OMERO. select Plugins > OMERO > Save Image(s) to OMERO.

23. You can now select in which project and dataset the new images are going to be imported into on the left-hand side.

24. When you are done selecting project and dataset, check Add Images from all image windows. Click Add to Queue then Import.

23. Return to the webclient and check that the new images have been placed in the correct project and dataset (you might need to press the refresh  button on the top left). After that, open the original image in OMERO.iviewer and inspect the newly created ROIs. Notice that you have ROIs for each channel on all timeplanes.

24. We will not need Fiji any longer, so you can go ahead and close it if you want.

TIME FOR A BREAK!

24. Select the original C4.pattern.tif image, the ROIs image and distribution plot. Click on Open with… OMERO.figure.

25. Copy and paste the original image using the Edit menu or keyboard shortcuts to duplicate it.

26. Adjust the rendering settings in this image in the right panel, to turn off the Green channel and enhance the Red.

27. Arrange these 2 images in a column with the ROIs image below, resizing as needed.

28. Select the 3 panels and use the Align > Width & Height toolbar to ensure these panels are all the same size.

29. Then click the Grid layout button in the same toolbar to snap the panels to a grid.

30. Copy the 3 panels and paste several times to create 3 new columns of 3 panels.

31. Select just the upper 2 image panels from each new column in turn and in the right panel, drag the T-slider to set the time to index, e.g. 5 (20 mins), then 6 (25 mins) then 9 (40 mins).

32. NB: the ROIs image is actually a Z-stack so we have to choose the frame using the Z-slider. There are 46 planes in the Z stack, from 2 channels x 23 time points. To pick time-frames that correspond to the 4 images above, set the Z-index for the 4 ROI images to 1, 9, 11 and 17 respectively.

33. Select all the 12 panels in the grid and use the Zoom slider to zoom in.

34. Pan the images by dragging in the right-hand panel Preview image.

35. Select just the first row of images, click on the Labels tab in the right-hand panel. Under Add Labels choose Time (T-Index) from the drop-down menu. Choose label color (white), position (top-left) and font-size (12) then click Add.

36. Click Save to save your figure.

37. To export your figure as PDF, click the Export PDF button at the top-right of the screen and wait for the PDF to be created on the server and the Download button to appear. Click to download the PDF and import to a PDF editor. You can post-process the PDF in Inkscape or Adobe Illustrator/Photoshop for example.